## Notes
UVic
Analysts: | Robyn Taves
Data compiled by: |  | Robyn Taves
All results were acquired at a 90 second sample and a 90 second wash ratio.
The total number of samples analyzed not including duplicates: 24
Dates of Analysis: |  | 2022-02-23
Notes:
Samples transferred to falcon tube for analysis after thawing and mixing.
No duplicates for precision and accuracy

## QF NUT FINAL
Uvic
Nutrient data summary with Quality Flags
Nutrient samples were collected in plastic tubes and quick frozen in
aluminum blocks and stored in a -20C freezer.
For samples 400m and deeper; a second set of samples are collected and stored cool for silicate analysis.
All samples were returned to the Institute of Ocean Sciences and
they were analyzed using an Astoria-Pacific Analyzer following methods described in
IOS Nutrient Methods (1996) Barwell-Clarke, J. and Whitney, F.
Cruise_Date | Station | Depth | Nitrate_plus_Nitrite | Flag:Nitrate_plus_Nitrite | Silicate | Flag:Silicate | Phosphate | Flag:Phosphate | Comments
|  | m | uM |  | uM |  | uM
2021-08-05 | Prasiola | 1 | 0.16343 |  | 12.4371 |  | 0.48823
2021-08-05 | Scott's Bay | 1 | 0.12257 |  | 12.1843 |  | 0.37233
2021-08-05 | Execution | 1 | 6.0571 |  | 21.1026 |  | 0.89749
2021-08-05 | Grappler | 1 | 0.20429 |  | 17.8568 |  | 0.4708
2021-08-05 | Raquefeuil | 1 | 0.16343 |  | 24.945 |  | 0.55285
2021-08-05 | Nanat | 1 | 0.22472 |  | 24.8438 |  | 0.52618
2021-08-05 | Prasiola | 5 | 4.576 |  | 17.3209 |  | 0.6903
2021-08-05 | Scott's Bay | 5 | 2.0224 |  | 18.9994 |  | 0.60927
2021-08-05 | Execution | 5 | 12.1551 |  | 26.1381 |  | 1.2185
2021-08-05 | Grappler | 5 | 0.77629 |  | 16.8457 |  | 0.47695
2021-08-05 | Raquefeuil | 5 | 2.7477 |  | 24.5405 |  | 0.6585
2021-08-05 | Nanat | 5 | 7.8242 |  | 30.6579 |  | 1.0031
2021-08-13 | Prasiola | 1 | 1.0827 |  | 12.2854 |  | 0.52926
2021-08-13 | Scott's Bay | 1 | 0.70479 |  | 13.5493 |  | 0.44823
2021-08-13 | Execution | 1 | 5.0357 |  | 16.4109 |  | 0.82159
2021-08-13 | Grappler | 1 | 0.2145 |  | 12.3056 |  | 0.40207
2021-08-13 | Raquefeuil | 1 | 0.64351 |  | 8.0386 |  | 0.48823
2021-08-13 | Nanat | 1 | 0.90908 |  | 12.5584 |  | 0.49439
2021-08-13 | Prasiola | 5 | 8.3554 |  | 19.5859 |  | 1.0667
2021-08-13 | Scott's Bay | 5 | 3.8917 |  | 15.42 |  | 0.77953
2021-08-13 | Execution | 5 | 6.956 |  | 18.7264 |  | 0.97441
2021-08-13 | Grappler | 5 | 8.2328 |  | 21.1734 |  | 1.1447
2021-08-13 | Raquefeuil | 5 | 3.5955 |  | 14.4998 |  | 0.75286
2021-08-13 | Nanat | 5 | 6.6087 |  | 18.1096 |  | 1.0195

## nitrate_avg
Station | Depth_m | Nitrate_plus_Nitrite_uM | Distance_opencoast_km
execution | 1 | 5.5464 | 4.4
prasiola | 1 | 0.62308 | 5.1
scotts_bay | 1 | 0.41368 | 7.7
grappler | 1 | 0.20939 | 8.6
roquefeuil | 1 | 0.40347 | 11.8
nanat | 1 | 0.5669 | 15.4
execution | 5 | 9.5555 | 4.4
prasiola | 5 | 6.4657 | 5.1
scotts_bay | 5 | 2.9571 | 7.7
grappler | 5 | 4.5045 | 8.6
roquefeuil | 5 | 3.1716 | 11.8
nanat | 5 | 7.2165 | 15.4

## nitrate_all
Station | Depth_m | Nitrate_plus_Nitrite_uM | Distance_opencoast_km
Prasiola | 1 | 0.16343 | 5.1
Scott's Bay | 1 | 0.12257 | 7.7
Execution | 1 | 6.0571 | 4.4
Grappler | 1 | 0.20429 | 8.6
Raquefeuil | 1 | 0.16343 | 11.8
Nanat | 1 | 0.22472 | 15.4
Prasiola | 5 | 4.576 | 5.1
Scott's Bay | 5 | 2.0224 | 7.7
Execution | 5 | 12.1551 | 4.4
Grappler | 5 | 0.77629 | 8.6
Raquefeuil | 5 | 2.7477 | 11.8
Nanat | 5 | 7.8242 | 15.4
Prasiola | 1 | 1.0827 | 5.1
Scott's Bay | 1 | 0.70479 | 7.7
Execution | 1 | 5.0357 | 4.4
Grappler | 1 | 0.2145 | 8.6
Raquefeuil | 1 | 0.64351 | 11.8
Nanat | 1 | 0.90908 | 15.4
Prasiola | 5 | 8.3554 | 5.1
Scott's Bay | 5 | 3.8917 | 7.7
Execution | 5 | 6.956 | 4.4
Grappler | 5 | 8.2328 | 8.6
Raquefeuil | 5 | 3.5955 | 11.8
Nanat | 5 | 6.6087 | 15.4

## DailyTrends
UVic
Corrected Data
Daily Calibrant and Standards Trend Data
Technos Standard |  |  |  |  | 600M Cal |  |  |  |  | Med Std. Cal |  |  |  |  | 5M Cal |  |  |  |  | Standard Curve Coefficients | [11 empty] | Measure of Background (Limit of Detection)
Astoria Run | Run Number | NO3 | Sil | PO4 | Astoria Run | Run Number | NO3 | Sil | PO4 | Astoria Run | Run Number | NO3 | Sil | PO4 | Astoria Run | Run Number | NO3 | Sil | PO4 | Astoria Run | Standard | Run Number | NO3 Peak Height | NO3 (uncorrected) | SIL Peak Height | Sil (uncorrected) | PO4 Peak Height | PO4 (uncorrected) | NO3 Calibration Curve Coefficient (x) | SIL Calibration Curve Coefficient (x) | PO4 Calibration Curve Coefficient (x) | Astoria Run | Run Number | NO3 wash (w) | SIL wash (w) | PO4 wash (w)
2022-003~UVIC_23FEB2022.fpx | 19 | 25.44 | 62.08 | 1.756 |  | Average | #DIV/0! | #DIV/0! | #DIV/0! | 2022-003~UVIC_23FEB2022.fpx | 12 | 20.2381 | 30.1303 | 2.1223 | 2022-003~UVIC_23FEB2022.fpx | 11 | 13.1381 | 15.2668 | 1.2642 | 2022-003~UVIC_23FEB2022.fpx | C1 | 4 | -0.0001 | 0.03 | -0.0001 | -0.04 | -6e-05 | 0.003 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 9 | 0.040456 | -0.030251 | 0.014319
| Average | 25.44 | 62.08 | 1.756 |  | Standard Deviation | #DIV/0! | #DIV/0! | #DIV/0! | 2022-003~UVIC_23FEB2022.fpx | 62 | 20.296 | 30.3445 | 2.1017 | 2022-003~UVIC_23FEB2022.fpx | 61 | 13.2991 | 15.4503 | 1.2801 | 2022-003~UVIC_23FEB2022.fpx | C2 | 5 | 0.2396 | 9.9 | 0.0568 | 15.03 | 0.00857 | 0.98 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 13 | 0.030342 | -0.030251 | 0.019433
| Standard Deviation | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | 2022-003~UVIC_23FEB2022.fpx | 105 | 20.5309 | 30.4254 | 2.0924 | 2022-003~UVIC_23FEB2022.fpx | 104 | 13.4421 | 15.3795 | 1.2698 | 2022-003~UVIC_23FEB2022.fpx | C3 | 6 | 0.4797 | 20.01 | 0.1133 | 30.05 | 0.01733 | 1.972 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 17 | 0.040456 | -0.030251 | 0.01841
[11 empty] | Average | 20.355 | 30.3 | 2.1055 |  | Average | 13.2931 | 15.3655 | 1.2713 | 2022-003~UVIC_23FEB2022.fpx | C4 | 7 | 0.7118 | 30 | 0.2252 | 59.9 | 0.02751 | 3.125 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 20 | 0.040456 | -0.020168 | 0.0071595
[11 empty] | Standard Deviation | 0.15506 | 0.15247 | 0.015277 |  | Standard Deviation | 0.15211 | 0.092536 | 0.0080689 | 2022-003~UVIC_23FEB2022.fpx | C5 | 8 | 0.9377 | 39.95 | 0.3374 | 90.01 | 0.03474 | 3.944 | 0.024541 | 0.0037798 | 0.0088302 | 2022-003~UVIC_23FEB2022.fpx | 24
[11 empty] | %RSD | 0.76178 | 0.50321 | 0.72559 |  | %RSD | 1.1442 | 0.60223 | 0.63467 | 2022-003~UVIC_23FEB2022.fpx | C1 | 54 | -0.0005 | 0.03 | -0.0001 | -0.03 | -4e-05 | 0.016 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 25
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C2 | 55 | 0.2424 | 9.92 | 0.0585 | 15.04 | 0.00846 | 0.98 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 26
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C3 | 56 | 0.483 | 19.93 | 0.1168 | 30.02 | 0.01699 | 1.946 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 35 | 0.05057 | 0 | 0.01841
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C4 | 57 | 0.7226 | 30.1 | 0.2329 | 59.93 | 0.02741 | 3.128 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 47 | 0.05057 | -0.010084 | 0.026592
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C5 | 58 | 0.9491 | 39.92 | 0.3496 | 90 | 0.0347 | 3.955 | 0.024791 | 0.0038909 | 0.0088201 | 2022-003~UVIC_23FEB2022.fpx | 52 | 0.05057 | -0.010084 | 0.022501
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C1 | 97 | -0.0003 | -0.04 | 0 | -0.05 | -5e-05 | 0.01 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 59 | 0.061286 | -0.030334 | 0.020514
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C2 | 98 | 0.2432 | 10.04 | 0.0591 | 15.06 | 0.00856 | 0.983 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 63 | 0.061286 | -0.020223 | 0.017437
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C3 | 99 | 0.482 | 20.02 | 0.1176 | 30.04 | 0.01714 | 1.955 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 66 | 0.071501 | -0.020223 | 0.017437
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C4 | 100 | 0.7153 | 29.85 | 0.2337 | 59.89 | 0.02748 | 3.125 |  |  |  | 2022-003~UVIC_23FEB2022.fpx | 76
[20 empty] | 2022-003~UVIC_23FEB2022.fpx | C5 | 101 | 0.9544 | 40.03 | 0.3504 | 90.01 | 0.03479 | 3.952 | 0.024266 | 0.0039159 | 0.008837 | 2022-003~UVIC_23FEB2022.fpx | 80 | 0.2145 | -0.050557 | 0.015385
[28 empty] | Average | 0.024533 | 0.0038622 | 0.0088291 | 2022-003~UVIC_23FEB2022.fpx | 95 | 0 | -0.050557 | 0.02154
[28 empty] | Standard Deviation | 0.00026228 | 7.2485e-05 | 8.5176e-06 | 2022-003~UVIC_23FEB2022.fpx | 102 | -0.010214 | -0.080892 | 0.025642
[32 empty] | 2022-003~UVIC_23FEB2022.fpx | 106 | -0.010214 | -0.091003 | 0.020514
[33 empty] | Average | 0.049398 | -0.03392 | 0.01895
[33 empty] | Standard Deviation | 0.054197 | 0.026199 | 0.0048514
[33 empty] | Average with Outliers Removed | 0.049398 | -0.03392 | 0.01895
Note on AI10: Author: Run number 24, 25, 26, 76 were samples that needed rerun and labeled as 'w' for macro.

## Raw+CRMCorrected Data
FASPac II
Uvic
Run date: 2/23/2022
Configuration: Neocaligus
Run Name: 2022-003~UVIC_23FEB2022.fpx
[5 empty] | Uncorrected Data | [5 empty] | Corrected Data
[6 empty] | Nitrate |  | Silicate |  | Phosphate | Nitrate | Silicate | Phosphate
| Position | Identifier | Type | Comment | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM | uM | uM | uM
1 | SR:1 | SYNC | SYNC |  | 0.941 | 40.1 | 0.3366 | 89.81 | 0.03463 | 3.931 | 40.1 | 89.81 | 3.931
2 | SR:2 | CO | Carry over |  | 0.0025 | 0.13 | 0.0004 | 0.09 | 0.00012 | 0.023 | 0.13 | 0.09 | 0.023
|  | Carry over= |  |  |  | .3% |  | .1% |  | .3% | .3% | .1% | .3%
3 | SR:3 | W | Wash |  | 0 | 0.03 | 0 | -0.02 | 0 | 0.01 | 0.03 | -0.02 | 0.01
4 | SR:4 | C1 | Calibrant |  | -0.0001 | 0.03 | -0.0001 | -0.04 | -6e-05 | 0.003 | 0.030342 | -0.040335 | 0.0030683
5 | SR:5 | C2 | Calibrant |  | 0.2396 | 9.9 | 0.0568 | 15.03 | 0.00857 | 0.98 | 10.0129 | 15.1559 | 1.0023
6 | SR:6 | C3 | Calibrant |  | 0.4797 | 20.01 | 0.1133 | 30.05 | 0.01733 | 1.972 | 20.2381 | 30.3017 | 2.0169
7 | SR:7 | C4 | Calibrant |  | 0.7118 | 30 | 0.2252 | 59.9 | 0.02751 | 3.125 | 30.342 | 60.4017 | 3.1962
8 | SR:8 | C5 | Calibrant |  | 0.9377 | 39.95 | 0.3374 | 90.01 | 0.03474 | 3.944 | 40.4054 | 90.7639 | 4.0338
9 | SR:9 | w | Unknown |  | 0.0002 | 0.04 | 0 | -0.03 | 3e-05 | 0.014 | 0.040456 | -0.030251 | 0.014319
10 | SR:10 | W | Wash |  | 0 | 0.03 | 0 | -0.02 | 0 | 0.01 | 0.030342 | -0.020168 | 0.010228
11 | SR:11 | Cal 5m | Unknown |  | 0.3137 | 12.99 | 0.0573 | 15.14 | 0.01083 | 1.236 | 13.1381 | 15.2668 | 1.2642
12 | SR:12 | Unk Med Std | Unknown |  | 0.4801 | 20.01 | 0.113 | 29.88 | 0.01823 | 2.075 | 20.2381 | 30.1303 | 2.1223
13 | SR:15 | w | Unknown |  | -0.0002 | 0.03 | 0 | -0.03 | 7e-05 | 0.019 | 0.030342 | -0.030251 | 0.019433
14 | SR:16 | W | Wash |  | 0 | 0.04 | 0 | -0.02 | 0 | 0.011 | 0.040456 | -0.020168 | 0.011251
15 | SR:17 | NO3 Med | Unknown |  | 0.4784 | 19.92 | 0.1136 | 29.97 | 0.01734 | 1.975 | 20.1471 | 30.221 | 2.02
16 | SR:18 | NOX% | NO3 check |  | 0.4763 | 19.83 | 0.0001 | 0 | 9e-05 | 0.022 | 20.056 | 0 | 0.022501
|  | NO3 Efficiency |  |  |  | 100.47% |  |  |  |  | 1.0162 | #VALUE! | #VALUE!
17 | SR:15 | w | Unknown |  | 0.0001 | 0.04 | 0 | -0.03 | 5e-05 | 0.018 | 0.040456 | -0.030251 | 0.01841
18 | SR:16 | W | Wash |  | 0 | 0.04 | 0 | -0.02 | 0 | 0.012 | 0.040456 | -0.020168 | 0.012273
19 | 1:1 | CP-0984 kanso | Unknown |  | 0.6082 | 25.44 | 0.2352 | 62.08 | 0.0154 | 1.756 | 25.73 | 62.6 | 1.796
52 | 1:31 | w | Unknown |  | 0.0001 | 0.05 | 0 | -0.01 | 3e-05 | 0.022 | 0.05057 | -0.010084 | 0.022501
53 | 1:31 | W | Wash |  | 0 | 0.05 | 0 | -0.01 | 0 | 0.02 | 0.05057 | -0.010084 | 0.020456
54 | SR:4 | C1 | Calibrant |  | -0.0005 | 0.03 | -0.0001 | -0.03 | -4e-05 | 0.016 | 0.030643 | -0.030334 | 0.016411
55 | SR:5 | C2 | Calibrant |  | 0.2424 | 9.92 | 0.0585 | 15.04 | 0.00846 | 0.98 | 10.1327 | 15.2076 | 1.0052
56 | SR:6 | C3 | Calibrant |  | 0.483 | 19.93 | 0.1168 | 30.02 | 0.01699 | 1.946 | 20.3572 | 30.3546 | 1.996
57 | SR:7 | C4 | Calibrant |  | 0.7226 | 30.1 | 0.2329 | 59.93 | 0.02741 | 3.128 | 30.7453 | 60.5979 | 3.2084
58 | SR:8 | C5 | Calibrant |  | 0.9491 | 39.92 | 0.3496 | 90 | 0.0347 | 3.955 | 40.7758 | 91.0031 | 4.0566
59 | SR:9 | w | Unknown |  | 0.0003 | 0.06 | -0.0001 | -0.03 | 0 | 0.02 | 0.061286 | -0.030334 | 0.020514
60 | SR:10 | W | Wash |  | 0 | 0.05 | 0 | -0.02 | 0 | 0.02 | 0.051072 | -0.020223 | 0.020514
61 | SR:11 | Cal 5m | Unknown |  | 0.3173 | 13.02 | 0.0595 | 15.28 | 0.01083 | 1.248 | 13.2991 | 15.4503 | 1.2801
62 | SR:12 | Unk Med Std | Unknown |  | 0.4816 | 19.87 | 0.1168 | 30.01 | 0.0179 | 2.049 | 20.296 | 30.3445 | 2.1017
63 | SR:15 | w | Unknown |  | 0.0003 | 0.06 | 0 | -0.02 | -2e-05 | 0.017 | 0.061286 | -0.020223 | 0.017437
64 | SR:16 | W | Wash |  | 0 | 0.05 | 0 | -0.02 | 0 | 0.019 | 0.051072 | -0.020223 | 0.019488
65 | 1:1 | CP-0984 | Unknown |  | 0.6076 | 25.19 | 0.2408 | 61.91 | 0.01528 | 1.751 | 25.73 | 62.6 | 1.796
66 | 1:32 | w | Unknown |  | 0.0005 | 0.07 | 0 | -0.02 | -2e-05 | 0.017 | 0.071501 | -0.020223 | 0.017437
67 | 1:32 | W | Wash |  | 0 | 0.05 | 0 | -0.03 | 0 | 0.019 | 0.051072 | -0.030334 | 0.019488
68 | 1:33 | UVic 5Aug21 Prasiola 1m | Unknown |  | 0.0026 | 0.16 | 0.048 | 12.3 | 0.00403 | 0.476 | 0.16343 | 12.4371 | 0.48823
69 | 1:34 | Scotts Bay 1m | Unknown |  | 0.0017 | 0.12 | 0.047 | 12.05 | 0.00303 | 0.363 | 0.12257 | 12.1843 | 0.37233
70 | 1:35 | Execution 1m | Unknown |  | 0.1448 | 5.93 | 0.0814 | 20.87 | 0.00756 | 0.875 | 6.0571 | 21.1026 | 0.89749
71 | 1:36 | Grappler 1m | Unknown |  | 0.0037 | 0.2 | 0.0689 | 17.66 | 0.00389 | 0.459 | 0.20429 | 17.8568 | 0.4708
72 | 1:37 | Raquefeuil 1m | Unknown |  | 0.0028 | 0.16 | 0.0962 | 24.67 | 0.00459 | 0.539 | 0.16343 | 24.945 | 0.55285
73 | 1:38 | Nanat 1m | Unknown |  | 0.0042 | 0.22 | 0.0958 | 24.57 | 0.00437 | 0.513 | 0.22472 | 24.8438 | 0.52618
74 | 1:39 | Prasiola 5m | Unknown |  | 0.1092 | 4.48 | 0.0669 | 17.13 | 0.00578 | 0.673 | 4.576 | 17.3209 | 0.6903
75 | 1:40 | Scotts Bay 5m | Unknown |  | 0.0482 | 1.98 | 0.0734 | 18.79 | 0.00508 | 0.594 | 2.0224 | 18.9994 | 0.60927
76 | 1:41 | w | Unknown |  | 0.296 | 12.19 | 0.7615 | 196.68 | 0.01021 | 1.174 | 12.4513 | 198.872 | 1.2042
77 | 1:42 | Grappler 5m | Unknown |  | 0.0182 | 0.76 | 0.0651 | 16.66 | 0.00395 | 0.465 | 0.77629 | 16.8457 | 0.47695
78 | 1:43 | Raquefeuil 5m | Unknown |  | 0.0657 | 2.69 | 0.0948 | 24.27 | 0.00551 | 0.642 | 2.7477 | 24.5405 | 0.6585
79 | 1:44 | Nanat 5m | Unknown |  | 0.1864 | 7.66 | 0.1183 | 30.32 | 0.00848 | 0.978 | 7.8242 | 30.6579 | 1.0031
80 | 1:45 | w | Unknown |  | 0.005 | 0.21 | 0 | -0.05 | -2e-05 | 0.015 | 0.2145 | -0.050557 | 0.015385
81 | 1:45 | W | Wash |  | 0 | 0 | 0 | -0.04 | 0 | 0.017 | 0 | -0.040446 | 0.017437
82 | 1:46 | 13Aug21 Prasiola 1m | Unknown |  | 0.0259 | 1.06 | 0.0476 | 12.15 | 0.00441 | 0.516 | 1.0827 | 12.2854 | 0.52926
83 | 1:47 | Scotts Bay 1m | Unknown |  | 0.0169 | 0.69 | 0.0525 | 13.4 | 0.00371 | 0.437 | 0.70479 | 13.5493 | 0.44823
84 | 1:48 | Execution 1m | Unknown |  | 0.1202 | 4.93 | 0.0635 | 16.23 | 0.00692 | 0.801 | 5.0357 | 16.4109 | 0.82159
85 | 1:49 | Grappler 1m | Unknown |  | 0.0052 | 0.21 | 0.0477 | 12.17 | 0.00332 | 0.392 | 0.2145 | 12.3056 | 0.40207
86 | 1:50 | Raquefeuil 1m | Unknown |  | 0.0155 | 0.63 | 0.0312 | 7.95 | 0.00406 | 0.476 | 0.64351 | 8.0386 | 0.48823
87 | 1:51 | Nanat 1m | Unknown |  | 0.022 | 0.89 | 0.0487 | 12.42 | 0.00412 | 0.482 | 0.90908 | 12.5584 | 0.49439
88 | 1:52 | Prasiola 5m | Unknown |  | 0.1987 | 8.18 | 0.0758 | 19.37 | 0.00905 | 1.04 | 8.3554 | 19.5859 | 1.0667
89 | 1:53 | Scotts Bay 5m | Unknown |  | 0.0929 | 3.81 | 0.0598 | 15.25 | 0.00657 | 0.76 | 3.8917 | 15.42 | 0.77953
90 | 1:54 | Execution 5m | Unknown |  | 0.1655 | 6.81 | 0.0725 | 18.52 | 0.00825 | 0.95 | 6.956 | 18.7264 | 0.97441
91 | 1:55 | Grappler 5m | Unknown |  | 0.1957 | 8.06 | 0.082 | 20.94 | 0.00972 | 1.116 | 8.2328 | 21.1734 | 1.1447
92 | 1:56 | Raquefeuil 5m | Unknown |  | 0.086 | 3.52 | 0.0563 | 14.34 | 0.00635 | 0.734 | 3.5955 | 14.4998 | 0.75286
93 | 1:57 | Nanat 5m | Unknown |  | 0.1572 | 6.47 | 0.0702 | 17.91 | 0.00865 | 0.994 | 6.6087 | 18.1096 | 1.0195
94 | 1:58 | 5Aug Execution 5m | Unknown |  | 0.2881 | 11.9 | 0.1012 | 25.85 | 0.01036 | 1.188 | 12.1551 | 26.1381 | 1.2185
95 | 1:59 | w | Unknown |  | 0.0005 | 0 | 0.0001 | -0.05 | 5e-05 | 0.021 | 0 | -0.050557 | 0.02154
96 | 1:59 | W | Wash |  | 0 | -0.03 | 0 | -0.06 | 0 | 0.015 | -0.030643 | -0.060669 | 0.015385
97 | SR:4 | C1 | Calibrant |  | -0.0003 | -0.04 | 0 | -0.05 | -5e-05 | 0.01 | -0.040857 | -0.050557 | 0.010257
98 | SR:5 | C2 | Calibrant |  | 0.2432 | 10.04 | 0.0591 | 15.06 | 0.00856 | 0.983 | 10.2552 | 15.2278 | 1.0083
99 | SR:6 | C3 | Calibrant |  | 0.482 | 20.02 | 0.1176 | 30.04 | 0.01714 | 1.955 | 20.4492 | 30.3748 | 2.0052
100 | SR:7 | C4 | Calibrant |  | 0.7153 | 29.85 | 0.2337 | 59.89 | 0.02748 | 3.125 | 30.4899 | 60.5575 | 3.2053
101 | SR:8 | C5 | Calibrant |  | 0.9544 | 40.03 | 0.3504 | 90.01 | 0.03479 | 3.952 | 40.8881 | 91.0132 | 4.0536
102 | SR:9 | w | Unknown |  | 0.0006 | -0.01 | 0 | -0.08 | 9e-05 | 0.025 | -0.010214 | -0.080892 | 0.025642
103 | SR:10 | W | Wash |  | 0 | -0.03 | 0 | -0.06 | 0 | 0.015 | -0.030643 | -0.060669 | 0.015385
104 | SR:11 | Cal 5m | Unknown |  | 0.318 | 13.16 | 0.0597 | 15.21 | 0.01081 | 1.238 | 13.4421 | 15.3795 | 1.2698
105 | SR:12 | Unk Med Std | Unknown |  | 0.4839 | 20.1 | 0.1177 | 30.09 | 0.01789 | 2.04 | 20.5309 | 30.4254 | 2.0924
106 | SR:15 | w | Unknown |  | 0.0006 | -0.01 | -0.0001 | -0.09 | 4e-05 | 0.02 | -0.010214 | -0.091003 | 0.020514
107 | SR:16 | W | Wash |  | 0 | -0.03 | 0 | -0.06 | 0 | 0.015 | -0.030643 | -0.060669 | 0.015385
108 | 1:60 | PAUSE | Pause |  | -0.0003 | -0.04 | -0.0001 | -0.09 | -3e-05 | 0.012 | -0.040857 | -0.091003 | 0.012308
Kanso CRM Correction
|  | Kanso Lot | NO3 + NO2 uM | Silicate uM | Phosphate uM
Quoted Value |  | CP | 25.73 | 62.6 | 1.796
Measured Value |  | CP-0984 kanso | 25.44 | 62.08 | 1.756
Correction Factor |  |  | -0.011399 | -0.0083763 | -0.022779
|  | Kanso Lot | NO3 + NO2 uM | Silicate uM | Phosphate uM
Quoted Value |  | CP | 25.73 | 62.6 | 1.796
Measured Value |  | CP-0984 kanso | 25.19 | 61.91 | 1.751
Correction Factor |  |  | -0.021437 | -0.011145 | -0.0257
| Cal 600m |  | 13.16 | 15.21 | 1.238
| Corr value |  | 13.4421 | 15.3795 | 1.2698
| Corr factor |  | -0.021437 | -0.011145 | -0.0257

## CRM Material
CRM Material
Available lots 6APR2020
www.kanso.co.jp/eng/production/available_lots.html
LOT | Bottle Sal. | Lab Temp C average | Appr Density Nutrients | NO3 umol/kg | NO2 umol/kg | NO3 + NO2 umol/kg | SIL umol/kg | PO4 umol/kg | NO3 + NO2 umol/L | SIL umol/L | PO4 umol/L
CC | 34.338 | 22 | 1.0245 | 30.88 | 0.116 | 30.996 | 86.16 | 2.08 | 31.76 | 88.27 | 2.131
CL | 34.685 | 22 | 1.0248 | 5.47 | 0.015 | 5.485 | 13.8 | 0.425 | 5.62 | 14.14 | 0.436
CM | 34.414 | 22 | 1.0245 | 33.2 | 0.018 | 33.218 | 100.5 | 2.38 | 34.03 | 102.97 | 2.438
CN | 34.536 | 22 | 1.0246 | 43.6 | 0.01 | 43.61 | 152.7 | 2.94 | 44.68 | 156.46 | 3.012
CO | 34.282 | 22 | 1.0244 | 15.86 | 0.04 | 15.9 | 34.72 | 1.177 | 16.29 | 35.57 | 1.206
CP | 34.398 | 22 | 1.0245 | 24.8 | 0.31 | 25.11 | 61.1 | 1.753 | 25.73 | 62.6 | 1.796

## Flags
Quality Flags for Water Samples
No comment is necessary for flag "6".
For all flags other than "6" always enter a comment explaining the reason for the flag.
Preface comment with a three letter tag for the specific parameter ie: NUT-comment if the comment
applies to all nutrients, or NO3-comment, SIL-comment etc. if it only applies to one nutrient.
Enter comments relating to nutrient analysis only.
Do not repeat comments already noted for the cast - e.g. niskin tripped at wrong depth,
but do include comments explaining a missing sample - e.g. flag "9" niskin did not close.
Specific Nutrient Analysis Quality Flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).